## Sheet1
Adderley |  |  |  | 33 Bayswater Road, Highlands Harare |  | Head type
Tel/Fax : 04 495595/480273
|  |  | Temperature Probe |  |  |  | a
Customer
Contact person
e-mail address
Customer reference | [6 empty] | b
Thermometer type: |  | RTD |  | Thermoc type :
Approval: |  | Non hazardous |  | Hazard rating :
Head; Cable Entry: |  | M20 / other
Thermowell | Yes | Pipe Diameter; |  | Material:
Probe diameter |  | 3mm / 6mm / |  |  | ............. mm |  | c
Neck Length E: | Yes | ............. mm |  | or Compression gland
Process Connection: |  | Thread G ½"; 316L
Thread G ¾"; 316L
Thread G 1"; 316L
Thread M20; 316Ti
Thread G ½" A; 316Ti
Thread G 1" A; 316Ti
|  | Specify |  |  |  |  | d
Tip Shape: |  | S Straight
T Tapered, L ≥ 90 mm
W Tapered DIN43772-3G, L ≥ 115 mm
Immersion Length L: |  | As specified |  | mm
Head type :
Head Transmitter; Range: |  | As specified |  | o C
Flying leads |  | Yes
RTD; wire; meas. range; class; |  | 3-wire |  | 4-wire
|  | Class A |  | Class B
Test/Calibration certificate: |  | Not required |  | Required
Comment